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Technical specification
Computerized Heat Transfer in Pin fin Apparatus
Product code: HMTC06     Category: Heat & Mass Transfer
Description
This system provides the information regarding the heat transfer from the hot zone to the chamber. Thus reducing the temperature of the source and spreading the same through pin type fin and further provides the knowledge regarding the distribution of temperature along the length of fin in forced convention and also to facilitate the comparison of fins of brass material. Further, it also enables the student to compare theoretical and practical results. Thermocouples are fitted on the pin for measuring the various temperatures. The heat input to the heater is varied by Variac and is measured by Ammeter & Voltmeter.
Experiments that can be performed
Determine the efficiency and effectiveness of a pin fin
Plot the temperature distribution along the fin
Features
Extensive range of Experiments
Comprehensive teaching manual
Three-year warranty
Aesthetically designed and finished Rig
High Quality instrumentation
Scope of supply
Supply of the rig as specified, with data acquisition and software where listed
Installation and commissioning at site
Training for laboratory staff
Annual maintenance contract (AMC), if applicable
Delivery period and payment terms are given in the quotation.
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