Legion Brothers   Obsessed with innovations
Technical specification
Computerized Vapour Compression Refrigeration Test Rig
Product code: RACC04     Category: Refrigeration & Air Conditioning
Description
This test rig is used to great advantage when introducing students to the Vapour compression refrigeration cycle. The test rig is portable trolley mounted, housed on a MS frame tube with wooden platform & front panel, finished by lamination to give elegant finish.
The panel consists of all the necessary instruments and components like voltmeter, ammeter, and temperature inductor energy meter Rotameter, thermostatic expansion valve, solenoid valve, pressure/compound gauges, and LP/HP cutout, the platform consists of compressor, fan, condenser and the evaporator is made of copper coil wrapped around a stainless steel vessel and insulated and housed in a wooden chamber.
Experiments that can be performed
Determine the actual and theoretical COP of the vapour compression cycle
Determine the refrigeration capacity and compressor power
Plot the cycle on a p-h chart
Features
Extensive range of Experiments
Comprehensive facility for complete investigation of refrigeration cycle
Major components utilized are of standard industrial practice
Low capital cost
Comprehensive modern instrumentation
Rapid start-up for effective use of laboratory time
Scope of supply
Supply of the rig as specified, with data acquisition and software where listed
Installation and commissioning at site
Training for laboratory staff
Annual maintenance contract (AMC), if applicable
Delivery period and payment terms are given in the quotation.
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