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Technical specification
Computerized Window Air Conditioner Trainer
Product code: RACC05     Category: Refrigeration & Air Conditioning
Description
This test rig is used to great advantage when introducing students to the air conditioning system. The test rig is portable trolley mounted, housed on a MS frame tube with wooden platform & front panel, finished by lamination to give elegant finish.
The panel consists of all the necessary instruments and components like voltmeter, ammeter, and temperature inductor energy meter Rotameter, pressure/compound gauges, and LP/HP cutout.
The unit is fitted with a flow diagram that illustrates the constructional and operational features. The platform consists of compressor, fan, condenser; evaporator and an expansion device enclosed in a window AC kit.
Experiments that can be performed
Determine the COP and cooling capacity of a window air conditioner
Study the components and refrigerant circuit of a window air conditioner
Features
Extensive range of Experiments
Mobile unit
Major components utilized are of standard industrial practice
Low capital cost
Comprehensive modern instrumentation
Control console incorporating instrumentation schematic for complete operation
Rapid start-up for effective use of laboratory time
Scope of supply
Supply of the rig as specified, with data acquisition and software where listed
Installation and commissioning at site
Training for laboratory staff
Annual maintenance contract (AMC), if applicable
Delivery period and payment terms are given in the quotation.
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